## Slide 1: MLL Resolution
Error function fitting

## Slide 2: Horizontal line top

## Slide 3: Horizontal line top fit
Fitting an error function with a width corresponding to the RMS of a Gaussian convolution of a sharp step. So the reported resolution (σ) is the RMS width of the point spread function.
The error on the fit is given at 1 standard deviation.
σ = (43.5±5.8) nm
M = 60.8

## Slide 4: Horizontal line bottom

## Slide 5: Horizontal line bottom fit
σ = (33.5±7.7) nm
M = 60.8

## Slide 6: Vertical line left

## Slide 7: Vertical line left fit
σ = (24.9±4.8) nm
M = 46.0