## Slide 1: MLL phase contrast
Simple forward propagation

## Slide 2: Simulation setup
Horizontal focus, 37.2 µm aperture
Vertical focus, 43.5 µm aperture
10.1 mm
3.3 mm
630 mm
1.4 mm smaller than physical distance, thus avoiding astigmatism in the simulation (making analysis easier)

## Slide 3: Simulation parameters
Assuming perfect focus on the setup in last slide
  Focal lengths
    H: 9.45 mm 9.9 mm
    V: 13.98 mm 13.1 mm
  Magnification
    H: 64.6 61.4
    V: 43.1 46.0
These values are very close to the actual magnification, within a few percent

## Slide 4: Simulation details
Sampling
  Using double field of view (vs detector)
  Using half pixel size (vs detector)
  In total 8192x8192 pixels
  Detector image obtained by binning 2x2 and reducing FOV by x2
MLLs
  Assuming simple 1D lenses with perfect phase
  Aperture applied
Misc
  Perfect coherence assumed

## Slide 5: Simulation image
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000

## Slide 6: Data set
Using series Set4_2D_17.3keV
Using scan pco_focus_30s
Bright field, full field images
During this scan the lenses were moved together along the optical axis
  Steps of 0.1 mm
  41 images

## Slide 7: Data “issues”
FOV motion during scan
Star motion during scan
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000
0
200
400
600
800
1000
1200

## Slide 8: Corrected data
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000

## Slide 9: Simulated data
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000
Simulation of a series of images moving both lenses in steps of 0.1 mm along optical axis
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000

## Slide 10: Line profiles (averaging ROIs)
200
400
600
800
1000
100
200
300
400
500
600
700
800
900
1000
200
400
600
800
1000
100
200
300
400
500
600
700
800
900
1000
Top ROI, 50x100 pixels, averaged vertically
Left ROI, 100x50 pixels, averaged horizontally
Bottom ROI, 50x100 pixels, averaged vertically
For the measurement the pixels were shifted to make the edges perfectly vertical/horizontal

## Slide 11: Line profiles
-10
0
10
x [
m]
-0.9
-0.6
-0.3
0
0.3
0.6
0.9
[
m
m
]
Top
-10
0
10
x [
m]
-0.9
-0.6
-0.3
0
0.3
0.6
0.9
[
m
m
]
Left
-10
0
10
x [
m]
-0.9
-0.6
-0.3
0
0.3
0.6
0.9
[
m
m
]
Bottom

## Slide 12: Line profile analysis
The simulation overestimates the amplitude of the fringes
  In this simulation I used the correct thickness of the Au of 600 nm (before I used 100 nm)
The position and sign of the change is well reproduced by the simulation
The line profiles from the LEFT ROI show more oscillations, presumably due to a longer coherence length in the vertical direction

## Slide 13: Line profile fitting (resolution estimate)
The fitted width of the step is highly sensitive to the focus point: lens too close to object gives wider step and lens too far from object gives sharper step. The resolution values are RMS widths of an assumed Gaussian point spread function.

## Slide 14: Outlook
Updated values for the magnification and focal lengths
The simulation gives a good qualitative description of the measurements
The discrepancy is most likely due to limited coherence length in the experiment
Getting a good estimate of the resolution requires more sophisticated analysis
  Although from the TOP and BOTTOM ROIs with weaker fringes the RMS resolution is more accurate, and gives a horizontal resolution in the range 30-40 nm