## Slide 1: MLL Phase Contrast Line Profile Comparison
Anders F. Pedersen
14-03-2017

## Slide 2: Recorded image estimated at focus position
This line interferes with the profile, but it is only visible on the top side of the rod.

## Slide 3: Measured line profiles
The problematic line mentioned on the previous slide. It is difficult to see the amplitude inversion on this side of the rod.
Amplitude inversion is clearly seen on the bottom side of the rod.

## Slide 4: Measurement ± displacement comparison

## Slide 5: Simulation ± displacement comparison

## Slide 6: Simulation vs. measurement
Good agreement between measurement and simulation on this side of rod. The simulation overestimates the amplitude of the oscillations a bit.

## Slide 7: Simulation vs. measurement

## Slide 8: Simulation vs. measurement

## Slide 9: Simulation vs. measurement

## Slide 10: Simulation vs. measurement

## Slide 11: Simulation vs. measurement

## Slide 12: Simulation vs. measurement

## Slide 13: Measured and simulated images
Very similar features!

## Slide 14: Measured and simulated images

## Slide 15: Measured and simulated images

## Slide 16: Measured and simulated images

## Slide 17: Measured and simulated images

## Slide 18: Measured and simulated images

## Slide 19: Measured and simulated images