## Slide 1: MLL phase contrast
Simple forward propagation

## Slide 2: Simulation setup
Horizontal focus, 40 µm aperture
Vertical focus, 46 µm aperture
9.6 mm
4.7 mm
630 mm

## Slide 3: Simulation parameters
Assuming perfect focus on the setup in last slide
  Focal lengths
    H: 9.45 mm
    V: 13.98 mm
  Magnification
    H: 64.6
    V: 43.1
  Resolution (aperture limited)
    H: 17.2 nm
    V: 22.3 nm
  Pixel size (taking magnification into account)
    H: 11.5 nm
    V: 17.2 nm

## Slide 4: Simulation details
Sampling
  Using double field of view (vs detector)
  Using half pixel size (vs detector)
  In total 8192x8192 pixels
  Detector image obtained by binning 2x2 and reducing FOV by x2
MLLs
  Assuming simple 1D lenses with perfect phase
  Aperture applied
Misc
  Perfect coherence assumed

## Slide 5: Simulation image
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000

## Slide 6: Data set
Using series Set4_2D_17.3keV
Using scan pco_focus_30s
Bright field, full field images
During this scan the lenses were moved together along the optical axis
  Steps of 0.1 mm
  41 images

## Slide 7: Data “issues”
FOV motion during scan
Star motion during scan
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000
0
200
400
600
800
1000
1200

## Slide 8: Corrected data
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000

## Slide 9: Simulated data
Simulation of a series of images moving both lenses in steps of 0.1 mm along optical axis
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000
500
1000
1500
2000
200
400
600
800
1000
1200
1400
1600
1800
2000

## Slide 10: Line profiles
400
600
800
1000
1200
1400
500
600
700
800
900
1000
1100
1200
1300
1400
1500
400
600
800
1000
1200
1400
500
600
700
800
900
1000
1100
1200
1300
1400
1500
Horizontal line profiles (3 pixel average)
Vertical line profiles (3 pixel average)

## Slide 11: Line profiles
Horizontal
Vertical
Astigmatism in data
The x- and y-axis have been shifted and scaled to align to the data. The intensities have been scaled using the mean and standard deviation.
The edge enhancing phase contrast is well reproduced.
Interference features in the center of spokes only seen in simulation, could be due to partial coherence in the measurement.
Simulation
Data

## Slide 12: Outlook
With this simple simulation the results are quite well reproduced
More detailed model
  Include partial coherence
  (Include astigmatism and correct magnification factors by tuning focal lengths)
  Include phase distortions of lenses